## Running economy example dataset
Human Performance Laboratory
Patient Information
Name | Participant 1 | File number
Age | 26 | yrs | Sex | F
Height | 67.5197 | in | 171.5 | cm | Weight | 124.96 | lb | 56.8 | kg
Test Protocol
Test degree | Submaximal
Exercise Device | Treadmill
Test Environment
Insp. temp. | 20 | deg C | Baro. pressure | 672.1 | mmHg
Exp. flow temp. | Mean of room temp. and 37.0 deg C
Insp. O2 | 20.93 | % | Insp. CO2 | 0.03 | %
Selected Flowmeter | 5-Daisy Chain
STPD to BTPS | 1.3806
Base Values for Sampling
Base O2 | 20.93 | % | Base CO2 | 0.03 | % | Measured O2 | 20.8957 | % | Measured CO2 | 0.060836 | %
==========
| . |  |  |  | . | . | .
TIME | VE | RR | FEO2 | FECO2 | VO2/kg | VO2 | VCO2 | VE/ | VE/ | RER | HR | PECO2
| BTPS |  |  |  | STPD | STPD | STPD | VO2 | VCO2
min | L/min | BPM | % | % | ml/kg/m | L/min | L/min | BT/ST | BT/ST |  | bpm | mmHg
----------
0.5 | 44.1481 | 30.2521 | 15.6467 | 4.271 | 31.2981 | 1.7777 | 1.3561 | 24.8339 | 32.5562 | 0.7628 | 140 | 28.4877 | Stage 1
1 | 44.0657 | 28.3019 | 15.5719 | 4.3793 | 31.6102 | 1.7955 | 1.3881 | 24.5429 | 31.7457 | 0.77311 | 140 | 29.2098 | VO2 | 1.8293
1.5 | 45.3924 | 29.431 | 15.5929 | 4.3954 | 32.3839 | 1.8394 | 1.4352 | 24.6778 | 31.6284 | 0.78024 | 139 | 29.3173 | VCO2 | 1.4723
2 | 43.8674 | 28.5714 | 15.5309 | 4.4569 | 31.643 | 1.7973 | 1.4065 | 24.4071 | 31.1887 | 0.78256 | 139 | 29.7277 | RER
2.5 | 43.788 | 28.7081 | 15.5619 | 4.4663 | 31.3529 | 1.7808 | 1.407 | 24.5883 | 31.1223 | 0.79005 | 141 | 29.7905 | kcal/LO2
3 | 43.4468 | 30.3132 | 15.378 | 4.5997 | 32.2019 | 1.8291 | 1.4379 | 23.7535 | 30.2145 | 0.78616 | 140 | 30.6797
3.5 | 45.4685 | 30.896 | 15.5103 | 4.545 | 32.8142 | 1.8638 | 1.4869 | 24.395 | 30.5801 | 0.79774 | 140 | 30.3151 | Oxygen unit cost
4 | 44.1304 | 30.8781 | 15.5956 | 4.492 | 31.3202 | 1.779 | 1.4262 | 24.8065 | 30.9435 | 0.80167 | 140 | 29.9614
4.5 | 44.0136 | 28.0843 | 15.4012 | 4.669 | 32.354 | 1.8377 | 1.4788 | 23.9503 | 29.7623 | 0.80472 | 142 | 31.1425 | Energy unit cost
5 | 44.1919 | 30.5914 | 15.4734 | 4.6097 | 32.0589 | 1.8209 | 1.4658 | 24.2687 | 30.1479 | 0.80499 | 141 | 30.7467
5.5 | 48.6888 | 30.4279 | 15.5007 | 4.304 | 35.6094 | 2.0226 | 1.5072 | 24.0722 | 32.3052 | 0.74515 | 148 | 28.7077 | Stage 2
6 | 50.8495 | 31.968 | 15.7396 | 4.3003 | 35.2369 | 2.0015 | 1.5727 | 25.4062 | 32.3324 | 0.78578 | 150 | 28.6831 | VO2
6.5 | 52.4412 | 30.3337 | 15.7192 | 4.3819 | 36.3677 | 2.0657 | 1.6529 | 25.3869 | 31.7263 | 0.80018 | 150 | 29.2271 | VCO2
7 | 51.914 | 31.2175 | 15.5957 | 4.5209 | 36.7925 | 2.0898 | 1.6886 | 24.8415 | 30.7443 | 0.808 | 150 | 30.1541 | RER
7.5 | 54.3902 | 32.2173 | 15.7272 | 4.471 | 37.486 | 2.1292 | 1.7495 | 25.5448 | 31.0893 | 0.82166 | 151 | 29.8215 | kcal/LO2
8 | 56.6406 | 36.7347 | 15.8737 | 4.4124 | 37.8105 | 2.1476 | 1.7978 | 26.3734 | 31.505 | 0.83712 | 152 | 29.4305
8.5 | 55.3668 | 35.2819 | 15.8974 | 4.4166 | 36.7403 | 2.0869 | 1.7591 | 26.5313 | 31.4748 | 0.84294 | 152 | 29.4585 | Oxygen unit cost
9 | 56.2135 | 35.0763 | 15.8405 | 4.4751 | 37.7077 | 2.1418 | 1.8098 | 26.2459 | 31.0604 | 0.845 | 153 | 29.8488
9.5 | 56.3336 | 35.2697 | 15.9269 | 4.4371 | 37.0751 | 2.1059 | 1.7982 | 26.7509 | 31.3279 | 0.8539 | 154 | 29.5956 | Energy unit cost
10 | 55.743 | 33.4975 | 15.8431 | 4.5069 | 37.3082 | 2.1191 | 1.8075 | 26.305 | 30.8399 | 0.85295 | 153 | 30.0607
10.5 | 55.3634 | 34.848 | 15.7595 | 4.2225 | 38.3324 | 2.1773 | 1.6811 | 25.4277 | 32.9328 | 0.77211 | 154 | 28.1641 | Stage 3
11 | 61.062 | 36.4619 | 16.0603 | 4.1581 | 39.4483 | 2.2407 | 1.8257 | 27.2518 | 33.4461 | 0.8148 | 157 | 27.7343 | VO2
11.5 | 62.6115 | 37.4261 | 16.1376 | 4.1867 | 39.6087 | 2.2498 | 1.885 | 27.8301 | 33.2156 | 0.83786 | 159 | 27.9252 | VCO2
12 | 64.3093 | 37.5742 | 16.1879 | 4.2062 | 40.1186 | 2.2787 | 1.9452 | 28.2215 | 33.0599 | 0.85365 | 159 | 28.0555 | RER
12.5 | 62.991 | 37.3961 | 16.1091 | 4.2835 | 39.932 | 2.2681 | 1.9406 | 27.7722 | 32.4591 | 0.85561 | 160 | 28.5711 | kcal/LO2
13 | 66.0732 | 39.2157 | 16.1765 | 4.2846 | 41.1656 | 2.3382 | 2.0361 | 28.2581 | 32.451 | 0.87079 | 161 | 28.578
13.5 | 68.0488 | 40.1741 | 16.324 | 4.222 | 40.9218 | 2.3244 | 2.0661 | 29.2764 | 32.9353 | 0.88891 | 162 | 28.1605 | Oxygen unit cost
14 | 68.4303 | 39.4089 | 16.2878 | 4.2469 | 41.4929 | 2.3568 | 2.0901 | 29.0353 | 32.7405 | 0.88683 | 162 | 28.3269
14.5 | 68.3649 | 39.5778 | 16.3163 | 4.2569 | 41.1155 | 2.3354 | 2.093 | 29.2738 | 32.6629 | 0.89624 | 163 | 28.3936 | Energy unit cost
15 | 69.5105 | 41.9301 | 16.3796 | 4.2212 | 41.179 | 2.339 | 2.1101 | 29.7184 | 32.9412 | 0.90217 | 163 | 28.1554
Events
5 | End of stage speed = 6.0 mph grade = 0%
10 | End of stage speed = 6.9 mph grade = 0%
15 | End of stage speed = 7.5 mph grade = 0%
Economy:
1. Determine the average VO2 and VCO2 using the last two minutes of data collected.
2. If determining energy unit cost, calculate RER and use the table to determine the kcal/LO2.
oxygen unit cost = mL O2/kg/km
energy unit cost = kcal/kg/km

## Thermal equivalents of oxygen
Table 1. Caloric equivalents (kcal•Liter of O2-1) and percentage of total calories provided by carbohydrate and fat at each non-protein RER.
R | kcal•LO2-1 | Percentage of Total Calories by:
|  | Carbohydrate | Fat
0.707 | 4.686 | 0 | 100
0.71 | 4.69 | 1.02 | 98.9
0.72 | 4.702 | 4.44 | 95.6
0.73 | 4.714 | 7.85 | 92.2
0.74 | 4.727 | 11.3 | 88.7
0.75 | 4.739 | 14.7 | 85.3
0.76 | 4.751 | 18.1 | 81.9
0.77 | 4.764 | 21.5 | 78.5
0.78 | 4.776 | 24.9 | 75.1
0.79 | 4.788 | 28.3 | 71.7
0.8 | 4.801 | 31.7 | 68.3
0.81 | 4.813 | 35.2 | 64.8
0.82 | 4.825 | 38.6 | 61.4
0.83 | 4.838 | 42 | 58
0.84 | 4.85 | 45.4 | 54.6
0.85 | 4.862 | 48.8 | 51.2
0.86 | 4.875 | 52.2 | 47.8
0.87 | 4.887 | 55.6 | 44.4
0.88 | 4.899 | 59 | 41
0.89 | 4.911 | 62.5 | 37.5
0.9 | 4.924 | 65.9 | 34.1
0.91 | 4.936 | 69.3 | 30.7
0.92 | 4.948 | 72.7 | 27.3
0.93 | 4.961 | 76.1 | 23.9
0.94 | 4.973 | 79.5 | 20.5
0.95 | 4.985 | 82.9 | 17.1
0.96 | 4.998 | 86.3 | 13.7
0.97 | 5.01 | 89.8 | 10.2
0.98 | 5.022 | 93.2 | 6.83
0.99 | 5.035 | 96.6 | 3.41
1 | 5.047 | 100 | 0
From Zuntz N. Ueber die Bedeutung der verschiedenen Nahrstoffe als Erzeuger der Muskelkraft. Arch Gesamte Physiol, Bonn, Germany: 1901; LXXXIII: 557-571; Pflugers Arch Physiol, 1901; 83-557.