## Thursday 8am
University of Calgary | [8 empty] | (20200303Temp3) | [5 empty] | Stage
Exercise Physiology Lab (sys#5)
*** Metabolic Text Report *** | 2023 | / | 3 | / | 2 | 9 | : | 37 | 44
Patient Information
Name | Participant 1 | File number | 0 | Doctor
Age | 20 | yrs | Sex | F
Height | 65.2362 | in | 165.7 | cm | Weight | 171.6 | lb | 78 | kg
Tech
Test Protocol
Test degree | Submaximal
Exercise Device | Bike
Test Environment | Insp. temp. | 21 | deg C | Baro. pressure | 656 | mmHg | Insp. humidity | 22 | %
Exp. flow temp. | Mean of room temp. and 37.0 deg C
Insp. O2 | 20.93 | % | Insp. CO2 | 0.04 | %
Selected Flowmeter | 0-800 Lpm
STPD to BTPS | 1.4171 | O2 Gain | 0.00014432 | CO2-NL gain | 0.00010621
Base Values for Sampling
Base O2 | 20.93 | % | Base CO2 | 0.04 | % | Measured O2 | 20.7741 | % | Measured CO2 | 0.11146 | %
==========
| . | . |  | . | .
TIME | VO2 | VO2/kg | METS | Vco2/kg | VE | RER | RR | Vt | FEO2 | FECO2 | HR | VE/ | VE/ | PetCO2
| STPD | STPD |  | STPD | BTPS |  |  | BTPS |  |  |  | VO2 | VCO2
min | L/min | ml/kg/m |  | ml/kg/m | L/min |  | BPM | L | % | % | bpm | BT/ST | BT/ST | mmHg
----------
0:32 | 0.29981 | 3.8438 | 1.0982 | 2.9771 | 11.6668 | 0.77454 | 18.7383 | 0.62262 | 17.4602 | 2.8609 | 0 | 38.9133 | 50.2409 | 18.9812
1:01 | 0.29372 | 3.7656 | 1.0759 | 3.0437 | 11.7332 | 0.8083 | 26.8873 | 0.43638 | 17.5249 | 2.9076 | 0 | 39.947 | 49.4214 | 19.2212
1:32 | 0.25293 | 3.2427 | 0.92649 | 2.4891 | 10.0744 | 0.76759 | 21.3041 | 0.47289 | 17.5453 | 2.7713 | 0 | 39.8302 | 51.8901 | 18.4381
2:00 | 0.26594 | 3.4095 | 0.97414 | 2.5834 | 10.3674 | 0.7577 | 20.9351 | 0.49522 | 17.4793 | 2.7947 | 0 | 38.9838 | 51.4499 | 18.4321
2:30 | 0.28398 | 3.6407 | 1.0402 | 2.7306 | 10.6509 | 0.75003 | 22 | 0.48413 | 17.3494 | 2.8742 | 0 | 37.5063 | 50.0064 | 18.9998
3:01 | 0.26306 | 3.3726 | 0.96359 | 2.4975 | 9.906 | 0.74053 | 21.2355 | 0.46648 | 17.3712 | 2.8271 | 0 | 37.6569 | 50.8516 | 18.7089
3:33 | 0.2727 | 3.4961 | 0.99889 | 2.6329 | 10.6732 | 0.75311 | 23.0548 | 0.46295 | 17.4965 | 2.7671 | 0 | 39.1395 | 51.9707 | 18.3649
4:01 | 0.3454 | 4.4282 | 1.2652 | 3.3515 | 13.356 | 0.75686 | 25.6959 | 0.51977 | 17.4518 | 2.814 | 0 | 38.6686 | 51.091 | 18.5747
4:32 | 0.51191 | 6.5629 | 1.8751 | 5.044 | 19.2065 | 0.76855 | 26.975 | 0.71201 | 17.336 | 2.9431 | 0 | 37.5193 | 48.8181 | 19.5073 | 1
5:01 | 0.67036 | 8.5943 | 2.4555 | 6.3225 | 21.303 | 0.73565 | 29.1565 | 0.73064 | 16.7175 | 3.3209 | 0 | 31.7785 | 43.1977 | 21.9571
5:31 | 0.90104 | 11.5518 | 3.3005 | 8.2057 | 26.2685 | 0.71034 | 31.9361 | 0.82253 | 16.3639 | 3.4934 | 0 | 29.1535 | 41.0416 | 23.1567
6:00 | 0.88869 | 11.3934 | 3.2553 | 8.6974 | 26.8204 | 0.76337 | 26.1482 | 1.0257 | 16.4671 | 3.6248 | 0 | 30.1798 | 39.5349 | 23.8701
6:32 | 1.0073 | 12.9143 | 3.6898 | 9.936 | 28.9431 | 0.76938 | 26.8371 | 1.0785 | 16.2361 | 3.835 | 0 | 28.7329 | 37.3454 | 25.2476
7:00 | 1.018 | 13.0518 | 3.7291 | 10.5016 | 30.8067 | 0.80461 | 29.8614 | 1.0317 | 16.4386 | 3.8083 | 0 | 30.2607 | 37.6091 | 25.2976
7:31 | 0.93848 | 12.0318 | 3.4376 | 10.4604 | 31.4969 | 0.8694 | 32.4015 | 0.97208 | 16.8231 | 3.7111 | 0 | 33.5617 | 38.6034 | 24.5017
8:01 | 0.98257 | 12.5971 | 3.5992 | 10.351 | 31.2981 | 0.8217 | 32.3341 | 0.96796 | 16.6472 | 3.6959 | 0 | 31.8532 | 38.7652 | 24.3899 |  | Watts50 RPE8 HR104
8:31 | 1.0002 | 12.8234 | 3.6638 | 10.8988 | 32.9168 | 0.84991 | 33.9208 | 0.9704 | 16.7592 | 3.7 | 0 | 32.9093 | 38.7208 | 24.442 | 2
9:00 | 0.9698 | 12.4333 | 3.5524 | 10.6893 | 32.1156 | 0.85973 | 31.0881 | 1.0331 | 16.7764 | 3.7192 | 0 | 33.1157 | 38.5189 | 24.4984
9:31 | 0.99778 | 12.7921 | 3.6549 | 11.2088 | 33.0509 | 0.87623 | 29.5566 | 1.1182 | 16.7628 | 3.7888 | 0 | 33.1244 | 37.8035 | 25.0057
10:00 | 1.0108 | 12.9588 | 3.7025 | 11.3232 | 33.3208 | 0.87379 | 30.0501 | 1.1088 | 16.7448 | 3.7964 | 0 | 32.9653 | 37.7269 | 25.0439
10:31 | 0.99343 | 12.7363 | 3.6389 | 11.2125 | 32.5442 | 0.88036 | 27.7594 | 1.1724 | 16.7126 | 3.8484 | 0 | 32.7593 | 37.2115 | 25.4282
11:00 | 0.96355 | 12.3532 | 3.5295 | 10.7867 | 31.3345 | 0.87319 | 32.6309 | 0.96027 | 16.6881 | 3.8452 | 0 | 32.5198 | 37.2427 | 25.3894
11:31 | 1.0632 | 13.6304 | 3.8944 | 11.5248 | 33.2536 | 0.84552 | 29.164 | 1.1402 | 16.5458 | 3.871 | 0 | 31.2778 | 36.9922 | 25.611
12:01 | 1.0838 | 13.8946 | 3.9699 | 12.4489 | 37.605 | 0.89595 | 30.171 | 1.2464 | 16.9349 | 3.6993 | 0 | 34.698 | 38.7275 | 24.5097 |  | Watts60 RPE9 HR113
12:31 | 0.98129 | 12.5806 | 3.5945 | 11.4381 | 34.5494 | 0.90919 | 31.4961 | 1.0969 | 16.9816 | 3.6995 | 0 | 35.2082 | 38.7249 | 24.4636 | 3
13:01 | 1.101 | 14.1157 | 4.033 | 12.0877 | 35.4541 | 0.85633 | 32.7981 | 1.081 | 16.6616 | 3.8087 | 0 | 32.2011 | 37.6035 | 25.131
13:30 | 1.1915 | 15.2752 | 4.3643 | 13.5065 | 39.8547 | 0.88422 | 32.6753 | 1.2197 | 16.7963 | 3.7861 | 0 | 33.4503 | 37.8304 | 24.956
14:01 | 1.1011 | 14.1162 | 4.0332 | 12.6871 | 37.2607 | 0.89876 | 33.3879 | 1.116 | 16.8312 | 3.8037 | 0 | 33.8408 | 37.6526 | 25.1315
14:31 | 1.1775 | 15.0959 | 4.3131 | 13.7626 | 41.713 | 0.91168 | 34.9289 | 1.1942 | 17.0038 | 3.687 | 0 | 35.4257 | 38.8576 | 24.4
15:01 | 1.1206 | 14.3668 | 4.1048 | 13.618 | 40.2295 | 0.94788 | 28.6983 | 1.4018 | 17.0257 | 3.7817 | 0 | 35.8996 | 37.8735 | 25.1079
15:31 | 1.161 | 14.8848 | 4.2528 | 13.2542 | 39.1335 | 0.89045 | 32.1824 | 1.216 | 16.8222 | 3.7838 | 0 | 33.7062 | 37.853 | 25.0814
16:00 | 1.1826 | 15.1613 | 4.3318 | 13.6756 | 42.4198 | 0.90201 | 36.5978 | 1.1591 | 17.0605 | 3.6036 | 0 | 35.8705 | 39.7673 | 23.8175 |  | Watts70 RPE9 HR124
16:30 | 1.1914 | 15.2745 | 4.3642 | 14.0506 | 43.3727 | 0.91987 | 35.7143 | 1.2144 | 17.1027 | 3.6208 | 0 | 36.4044 | 39.5756 | 23.949 | 4
17:00 | 1.2431 | 15.9372 | 4.5535 | 14.3227 | 43.8235 | 0.8987 | 36.3025 | 1.2072 | 16.9955 | 3.6527 | 0 | 35.2532 | 39.2271 | 24.08
17:30 | 1.2899 | 16.5372 | 4.7249 | 15.1214 | 45.5413 | 0.91439 | 34.148 | 1.3336 | 16.9882 | 3.7102 | 0 | 35.3061 | 38.6117 | 24.548
18:01 | 1.2498 | 16.0225 | 4.5778 | 14.5622 | 45.5557 | 0.90886 | 35.2941 | 1.2907 | 17.1166 | 3.5734 | 0 | 36.4518 | 40.107 | 23.6958
18:31 | 1.3039 | 16.7172 | 4.7763 | 15.3053 | 47.7164 | 0.91554 | 37.9242 | 1.2582 | 17.126 | 3.5855 | 0 | 36.594 | 39.9697 | 23.6796
19:00 | 1.2994 | 16.659 | 4.7597 | 15.2053 | 46.2289 | 0.91274 | 30.2216 | 1.5297 | 17.0196 | 3.6757 | 0 | 35.577 | 38.9783 | 24.2384
19:30 | 1.3022 | 16.6951 | 4.77 | 15.1593 | 46.5 | 0.90801 | 34.5411 | 1.3462 | 17.0379 | 3.6436 | 0 | 35.7083 | 39.3259 | 23.983
20:01 | 1.3216 | 16.9436 | 4.841 | 14.6996 | 45.0777 | 0.86756 | 34.9401 | 1.2901 | 16.8905 | 3.6446 | 0 | 34.1084 | 39.3154 | 24.1345 |  | Watts80 RPE10 HR132
20:30 | 1.3622 | 17.4644 | 4.9898 | 15.5533 | 47.9729 | 0.89057 | 32.8093 | 1.4622 | 16.9982 | 3.6238 | 0 | 35.2165 | 39.5438 | 23.9639 | 5
21:02 | 1.3739 | 17.6137 | 5.0325 | 15.8959 | 49.3947 | 0.90247 | 36.2135 | 1.364 | 17.069 | 3.5972 | 0 | 35.9529 | 39.8383 | 23.8194
21:30 | 1.3826 | 17.7259 | 5.0645 | 16.0504 | 50.0469 | 0.90548 | 35.3186 | 1.417 | 17.0926 | 3.585 | 0 | 36.1972 | 39.9758 | 23.7111
22:00 | 1.3217 | 16.9453 | 4.8415 | 15.1309 | 47.9406 | 0.89293 | 38.2679 | 1.2528 | 17.1106 | 3.5288 | 0 | 36.2711 | 40.6204 | 23.3867
22:31 | 1.3856 | 17.7637 | 5.0754 | 15.9793 | 48.0167 | 0.89955 | 29.6443 | 1.6198 | 16.9268 | 3.7185 | 0 | 34.6548 | 38.5247 | 24.5786
23:00 | 1.4638 | 18.7671 | 5.362 | 16.3631 | 49.6693 | 0.87191 | 35.1119 | 1.4146 | 16.8656 | 3.6816 | 0 | 33.9311 | 38.916 | 24.4492
23:31 | 1.4747 | 18.9066 | 5.4019 | 16.9294 | 53.9416 | 0.89542 | 38.7222 | 1.393 | 17.1406 | 3.5092 | 0 | 36.5777 | 40.8496 | 23.2294
24:00 | 1.3763 | 17.6444 | 5.0413 | 15.9418 | 50.9209 | 0.9035 | 38.3193 | 1.3289 | 17.1773 | 3.5006 | 0 | 36.9993 | 40.951 | 23.1049 |  | Watts90 RPE10 HR140
24:22 | 1.1484 | 14.7234 | 4.2067 | 12.6263 | 38.8921 | 0.85756 | 35.9116 | 1.083 | 16.8703 | 3.6287 | 0 | 33.8655 | 39.4903 | 23.9475
Max VO2 | 1.4747 | L/min | 18.9066 | ml/kg/min | 5.4019 | METS
Ve/Vco2 Slope | 36.9
Events
4 | Watts RPE HR
4 | Watts50 RPE8 HR104
8 | Watts60 RPE9 HR113
12 | Watts70 RPE9 HR124
16 | Watts80 RPE10 HR132
20 | Watts90 RPE10 HR140
Summary |  |  |  |  | Power Output | VO2 submax | VO2 max
[5 empty] | 20 |  | 0.49066
[5 empty] | 25 |  | 0.60184
[5 empty] | 30 |  | 0.81327
[5 empty] | 35 |  | 0.77246
[5 empty] | 40 |  | 0.76954
[5 empty] | 45 |  | 0.77552
[5 empty] | 50 | 0.98257 | 0.77561
[5 empty] | 55 |  | 0.78299
[5 empty] | 60 | 1.0838 | 0.83288
[5 empty] | 65 |  | 0.7099
[5 empty] | 70 | 1.1826 | 0.89613
[5 empty] | 75 |  | 0.7099
[5 empty] | 80 | 1.3216 | 0.96194
[5 empty] | 85 |  | 0.89613
[5 empty] | 90 | 1.3763 | 1.0102
[5 empty] | 95 |  | 1.084
[5 empty] | 100 |  | 1.057
[5 empty] | 105 |  | 1.0669
[5 empty] | 110 |  | 1.2196
[5 empty] | 115 |  | 1.1903
[5 empty] | 120 |  | 1.123
[5 empty] | 125 |  | 1.3305
[5 empty] | 130 |  | 1.4949
[5 empty] | 135 |  | 1.3317
[5 empty] | 140 |  | 1.3993
[5 empty] | 145 |  | 1.4341
[5 empty] | 150 |  | 1.6238
[5 empty] | 155 |  | 1.613
[5 empty] | 160 |  | 1.591
[5 empty] | 165 |  | 1.773